# Business Requirements Document (BRD)

Project Title: Smart Inventory & Device Monitoring Platform (Hospital / Medical IoT / Asset Monitoring Platform)
Version: 1.0
Prepared By: Product Manager
Reviewed By: Business Analyst, Software Architect
Project Duration: 1 Month (Portfolio Demonstration Project)

## 1. Executive Summary

Business Background

ABC Hospital is a medium-sized hospital with approximately:

- 250 inpatient beds

- 12 operating theatres

- 1 Emergency Department

- 3 ICU wards

- 6 General Wards

- Laboratory

- Pharmacy

- Medical Equipment Storage Rooms

The hospital currently manages medical devices manually using Excel spreadsheets.

Temperature-sensitive medical equipment and medicine storage are monitored manually by nurses.

Door access logs are stored separately from inventory records.

Maintenance teams receive equipment failures only after hospital staff report them.

There is no centralized monitoring platform.

This results in

- Lost medical devices

- Equipment downtime

- Manual stock counting

- Slow incident response

- Compliance audit difficulties

## 2. Business Goal

The hospital wants a centralized cloud platform capable of monitoring all critical hospital assets and IoT devices in real time.

The platform should provide

- Asset Inventory Management

- Device Health Monitoring

- Temperature Monitoring

- Door Access Monitoring

- Notification & Alert Management

- Dashboard & Reporting

## 3. Business Objectives

| Objective | Expected Result |
| --- | --- |
| Reduce lost equipment | >80% reduction |
| Reduce manual inventory work | >70% |
| Detect equipment failure earlier | <5 minutes |
| Detect temperature abnormality | Real-time |
| Track door access | 100% logging |
| Centralize monitoring | Single Dashboard |
| Improve maintenance planning | Predictive Maintenance Ready |

## 4. Existing Problems

| Inventory |  |
| --- | --- |
| Current process | Problems |
| - Excel files - Manual asset labels - No location tracking - No maintenance history | - Equipment missing - Duplicate asset records - Wrong department assignment |

| Temperature Monitoring |  |
| --- | --- |
| Current process | Problems |
| - Nurse checks every 4 hours | - Temperature excursion discovered too late - Vaccine damage - Medicine disposal |

| Door Access |  |
| --- | --- |
| Current process | Problems |
| Different access control systems. | - No centralized audit - No notification - Difficult investigation |

| Equipment Monitoring |  |
| --- | --- |
| Current process | Problems |
| Engineers receive phone calls. | - Long response time - Unknown device health - No maintenance history |

## 5. Scope (In Scope)

| Medical Device Inventory | Manage : Wheelchairs , Infusion Pumps , ECG Machines, Defibrillators, Ventilators, Ultrasound Machines, Portable X-ray |
| --- | --- |
| Asset Tracking | Track, Current location, Department, Owner, Status, Last maintenance, Warranty, Vendor |
| IoT Device Monitoring | Monitor, Temperature Sensor, Humidity Sensor, Battery Status, Signal Strength, Device Connectivity |
| Temperature Monitoring | Rooms, Operating Theatre, Medicine Storage, Blood Bank, Vaccine Refrigerator, Server Room, Laboratory |
| Door Access Monitoring | Monitor, ICU, Drug Store, Server Room, Laboratory, Operating Theatre, Medical Device Room |
| Notification | Send notification, Email, SMS, Push Notification, Microsoft Teams |
| Dashboard | Display, Hospital Map, Device Health, Temperature, Door Status, Inventory Summary, Alerts |

## 6. Out of Scope

Billing, HIS, EMR, Appointment System, Patient Records, Finance, HR.

## 7. User Roles

| Hospital Administrator | Manage - Users - Departments - Permissions - Dashboard |
| --- | --- |
| Biomedical Engineer | Responsible for Equipment Maintenance Health Monitoring |
| Nurse | Can Search inventory Receive alerts View dashboard |
| Security Officer | Monitor Door access Unauthorized entry |
| Maintenance Engineer | View Device faults Maintenance schedules |
| Auditor | View only Reports Audit Logs |

## 8. Business Modules

Module 1: Medical Device Inventory

| Features Register Device Edit Device Delete Device Assign Device Transfer Device Retire Device Asset History QR Code Barcode Search Filter Export | Device Information Asset ID Device Name Serial Number Manufacturer Model Department Location Purchase Date Warranty Maintenance Schedule Status |
| --- | --- |

Module 2: IoT Device Monitoring

| Connected Devices Temperature Sensor Humidity Sensor Gateway Door Controller Battery Device Network Device | Device Status Online Offline Warning Critical Maintenance |
| --- | --- |
|  | Live Metrics Battery RSSI Signal CPU Memory Firmware |

Module 3: Temperature Monitoring

| Rooms Operating Theatre Medicine Storage Blood Bank Vaccine Refrigerator Server Room Laboratory |  |
| --- | --- |

Module 4: Door Access

| Monitor Door Open Door Close Forced Open Door Held Unauthorized Access Card Access Emergency Unlock | History Who When Which Door Duration Card Number Department |
| --- | --- |

Module 5: Notification Center

| Channels Email SMS Push Microsoft Teams | Priority Information Warning Critical Emergency |
| --- | --- |
| Escalation 1 minute 5 minutes 10 minutes 30 minutes |  |

Module 6: Dashboard

| Widgets Hospital Overview Inventory Device Health Temperature Alerts Door Events Top Issues Maintenance |  |
| --- | --- |

Module 7: Reporting

| Inventory Report Maintenance Report Temperature Report Door Report Alert Report Audit Report Device Health Report |  |
| --- | --- |

## 9. Business Processes

Asset Registration

Biomedical Engineer

↓

Create Asset

↓

Generate QR Code

↓

Assign Department

↓

Available

Temperature Monitoring

Sensor

↓

Gateway

↓

Cloud

↓

Threshold Check

↓

Alert

↓

Engineer

↓

Resolved

Door Access

Access Card

↓

Door Controller

↓

Cloud

↓

Audit Log

↓

Notification

Equipment Failure

IoT Device

↓

Offline

↓

Cloud

↓

Alert

↓

Engineer

↓

Repair

↓

Close Incident

## 10. Business Rules

BR-001 Unique Asset ID
BR-002 IoT device belongs to one gateway
BR-003 Temperature sampled every minute
BR-004 Critical alerts within one minute
BR-005 Only Biomedical Engineer can retire devices
BR-006 Inventory movement logged
BR-007 Door access logs immutable
BR-008 Alert acknowledgement required
BR-009 Overdue maintenance shown on dashboard
BR-010 Offline devices create incidents automatically

## 11. Non-Functional Requirements

Availability: 99.9%
Dashboard Response: <3 seconds
Notification: <30 seconds
Scalability: 100,000 IoT devices
Security: Azure AD, RBAC, JWT, HTTPS/TLS, Audit Log
Backup & Disaster Recovery required

Database No data Loss, Backup, Disaster Recovery

## 12. Future Expansion

| Phase 2 | Predictive Maintenance (AI) Machine Learning Remaining Useful Life Anomaly Detection Power Consumption |
| --- | --- |
| Phase 3 | RFID Tracking BLE Beacon Indoor Navigation Digital Twin Mobile App Offline Mode |
| Phase 4 | Multi Hospital Tenant Isolation Regional Dashboard Cross Hospital Asset Sharing |

## 13. High-Level System Context

+----------------------+

|   Hospital Staff     |

| Admin / Nurse / Eng. |

+----------+-----------+

|

Web / Mobile Portal

|

+---------v----------+

|  Cloud Platform    |

|--------------------|

| Inventory Service  |

| IoT Service        |

| Alert Service      |

| Notification       |

| Reporting          |

| Dashboard          |

+---------+----------+

|

+---------------+----------------+

|               |                |

IoT Gateway      Door Controller   Asset Database

|               |

Temp/Humidity Sensors  Card Readers

|

Medical Equipment

## 14. Product Manager Notes

This portfolio project intentionally models a realistic hospital environment while keeping business logic manageable for a one-month implementation. The architecture should be designed using cloud-native and microservices principles so that new domains (e.g., AI predictive maintenance, RFID asset tracking, digital twins, and multi-hospital tenancy) can be added without major redesign.

The implementation should prioritize clean architecture, domain-driven design (DDD), event-driven communication, and Azure-native services (Azure IoT Hub, Event Grid, Service Bus, Functions, Cosmos DB/SQL, API Management, Azure Monitor, Application Insights) to demonstrate modern enterprise software engineering practices suitable for a senior .NET software engineer portfolio.